## data
time	concentration a	concentration b	concentration total	volume a	volume b	volume total	concentration a measured	volume a measured	volume b measured	volume total measured	concentration a measured 1	volume a measured 1	volume b measured 1	volume total measured 1	measured/expected volume a	measured/expected volume b	measured/expected volume total
0	10	90	100	0	0	0	10	0	0	0	10	0	0	0
1	10	90	100	4	36	40	10	5	38	43	10	5	35	40	1.25	1.0555555556	1.075
2	12.4	87.6	100	8.2	71.4	79.6	12	10	74	84	12.5	10	71	81	1.2195121951	1.0364145658	1.0552763819
3	17.1	82.9	100	14.1	105.5	119.6	17	17	110	127	17.5	17	110	127	1.2056737589	1.0426540284	1.0618729097
4	21.8	78.2	100	21.9	137.7	159.6	22	22	145	167	21.5	25	139	164	1.00456621	1.0530137981	1.0463659148
5	26.5	73.5	100	31.5	168.1	199.6	26	33	175	208	26.5	38	171	209	1.0476190476	1.0410469958	1.0420841683
6	31.3	68.7	100	43.1	196.5	239.6	31	45	205	250	31.5	49	200	249	1.0440835267	1.0432569975	1.0434056761
7	36	64	100	56.5	223.1	279.6	36	60	230	290	36.5	60	239	299	1.0619469027	1.0309278351	1.0371959943
8	40.7	59.3	100	71.9	247.7	319.6	41	77	258	335	40.5	78	252	330	1.0709318498	1.0415825595	1.0481852315
9	45.4	54.6	100	89.1	270.5	359.6	46	92	280	372	45.5	95	275	370	1.0325476992	1.0351201479	1.0344827586
10	50.1	49.9	100	108.2	291.4	399.6	50	113	302	415	50.5	115	297	412	1.0443622921	1.0363761153	1.0385385385
11	54.9	45.1	100	129.2	310.4	439.6	55	135	320	455	54.5	149	318	467	1.0448916409	1.0309278351	1.0350318471
12	59.6	40.4	100	152.1	327.5	479.6	60	160	338	498	59.5	160	335	495	1.0519395135	1.0320610687	1.0383653044
13	64.3	35.7	100	176.9	342.7	519.6	65	185	352	537	64.5	185	350	535	1.0457885811	1.027137438	1.0334872979
14	69	31	100	203.5	356.1	559.6	70	212	368	580	69.5	212	362	574	1.0417690418	1.0334175793	1.0364546104
15	73.8	26.2	100	232.1	367.5	599.6	74	242	380	622	73.5	240	375	615	1.0426540284	1.0340136054	1.0373582388
16	78.5	21.5	100	262.5	377.1	639.6	79	275	390	665	78.5	272	385	657	1.0476190476	1.0342084328	1.0397123202
17	83.2	16.8	100	294.9	384.7	679.6	84	309	398	707	83.5	305	392	697	1.0478128179	1.0345723941	1.040317834
18	87.9	12.1	100	329.1	390.5	719.6	89	341	402	743	87.5	341	400	741	1.0361592221	1.0294494238	1.0325180656
19	92.6	7.4	100	365.2	394.4	759.6	93	380	408	788	92.5	379	405	784	1.0405257393	1.0344827586	1.037388099
20	95	5	100	402.6	396.6	799.2	95	420	410	830	95	418	409	827	1.043219076	1.0337871911	1.0385385385
21	10	90	100	423.2	415.6	838.8	10	435	430	865	10	438	438	876	1.0278827977	1.0346487007	1.0312350978
22	10	90	100	427.2	451.6	878.8	10	440	468	908	10	441	467	908	1.0299625468	1.0363153233	1.0332271279
23	10	90	100	431.2	487.6	918.8	10	445	500	945	10	445	497	942	1.0320037106	1.0254306809	1.0285154549

## volume
HPLC Gradient Test
time (min)
volume (ml)

## ratio
HPLC Gradient Test Volume Ratios
time (min)
ratio