## theory
time	concentration a (%)	concentration b (%)	concentration total (%)	volume a (ml)	volume b (ml)	volume total (ml)	concentration a measured	volume a measured	volume b measured	volume t measured
0	10	90	100	0	0	0	10	0	0	0
1	10	90	100	4	36	40	10	5	38	43
2	12.4	87.6	100	6.8	72.8	79.6	12	10	74	84
3	17.1	82.9	100	9.8	109.8	119.6	17	17	110	127
4	21.8	78.2	100	14.8	144.8	159.6	22	22	145	167
5	26.5	73.5	100	21.6	178	199.6	26	33	175	208
6	31.3	68.7	100	30.3	209.3	239.6	31	45	205	250
7	36	64	100	40.9	238.7	279.6	36	60	230	290
8	40.7	59.3	100	53.4	266.2	319.6	41	77	258	335
9	45.4	54.6	100	67.8	291.8	359.6	46	92	280	372
10	50.1	49.9	100	84.1	315.5	399.6	50	113	302	415
11	54.9	45.1	100	102.3	337.3	439.6	55	135	320	455
12	59.6	40.4	100	122.3	357.3	479.6	60	160	338	498
13	64.3	35.7	100	144.3	375.3	519.6	65	185	352	537
14	69	31	100	168.1	391.5	559.6	70	212	368	580
15	73.8	26.2	100	193.8	405.8	599.6	74	242	380	622
16	78.5	21.5	100	221.4	418.2	639.6	79	275	390	665
17	83.2	16.8	100	250.9	428.7	679.6	84	309	398	707
18	87.9	12.1	100	282.3	437.3	719.6	89	341	402	743
19	92.6	7.4	100	315.6	444	759.6	93	380	408	788
20	95	5	100	351.6	447.6	799.2	95	420	410	830
21	10	90	100	372.2	466.6	838.8	10	435	430	865
22	10	90	100	376.2	502.6	878.8	10	440	468	908
23	10	90	100	380.2	538.6	918.8	10	445	500	945

## concentration
HPLC Chromatograph Concentration Theory vs Measured
time (min)
concentration (%)

## volume
HPLC Chromatograph Volume Theory vs Measured
time (min)
volume (ml)

## theory_digital
time	concentration a (%)	concentration b (%)	concentration total (%)	volume a (ml)	volume b (ml)	volume total (ml)	concentration a measured	volume a measured	volume b measured	volume t measured
0	10	90	100	0	0	0	10	0	0	0
1	10	90	100	4	36	40	10	5	38	43
2	12.4	87.6	100	8.3	71.7	80	12	10	74	84
3	17.1	82.9	100	14.4	105.6	120	17	17	110	127
4	21.8	78.2	100	22.4	137.6	160	22	22	145	167
5	26.5	73.5	100	32.3	167.7	200	26	33	175	208
6	31.3	68.7	100	44	196	240	31	45	205	250
7	36	64	100	57.7	222.3	280	36	60	230	290
8	40.7	59.3	100	73.2	246.8	320	41	77	258	335
9	45.4	54.6	100	90.6	269.4	360	46	92	280	372
10	50.1	49.9	100	109.9	290.1	400	50	113	302	415
11	54.9	45.1	100	131.1	308.9	440	55	135	320	455
12	59.6	40.4	100	154.2	325.8	480	60	160	338	498
13	64.3	35.7	100	179.2	340.8	520	65	185	352	537
14	69	31	100	206	354	560	70	212	368	580
15	73.8	26.2	100	234.8	365.2	600	74	242	380	622
16	78.5	21.5	100	265.4	374.6	640	79	275	390	665
17	83.2	16.8	100	298	382	680	84	309	398	707
18	87.9	12.1	100	332.4	387.6	720	89	341	402	743
19	92.6	7.4	100	368.7	391.3	760	93	380	408	788
20	95	5	100	406.5	393.5	800	95	420	410	830
21	10	90	100	427.3	412.7	840	10	435	430	865
22	10	90	100	431.3	448.7	880	10	440	468	908
23	10	90	100	435.3	484.7	920	10	445	500	945

## volume_digital
HPLC Chromatograph Volume Digital Theory vs Measured
time (min)
volume (ml)